# Home Energy Audit Checklist

# Introduction

Purpose: To help identify energy and water waste throughout your home.

Estimated Time: 30–60 minutes.

Instructions: Walk through your home room-by-room and tick off checks. Note any issues and suggested fixes.

# General Home-Wide Checks

| Check | What to Look For | Suggested Action |
| --- | --- | --- |
| Draughts around doors/windows | Feel for cold air or visible light | Install draught excluders or sealant |
| Thermostat setting | Too high or always on | Set to 18–21°C, use timers |
| Smart meter installed? | Display visible or used? | Request one from supplier |
| Room temperatures consistent? | Uneven heating | Bleed radiators or adjust valves |
| Boiler efficiency | Old or unserviced | Book a service or apply for ECO scheme |

# Living Room

| 0 | 1 | 2 |
| --- | --- | --- |
| Check | Observation | Suggested Fix |
| Using LED bulbs | Yes / No | Replace halogens with LEDs |
| TV/gaming devices on standby | Often / Sometimes / Never | Use timer plugs or switch off at mains |
| Curtains closed at night | Always / Sometimes / Rarely | Helps retain heat |
| Fireplace sealed or blocked | Yes / No | Use chimney balloon or draft guard |

# Bathroom

| 0 | 1 | 2 |
| --- | --- | --- |
| Check | Observation | Suggested Fix |
| Low-flow showerhead | Installed? | Fit water-saving showerhead |
| Tap leaks or dripping | Any slow drips? | Fix washers or report it |
| Shower length | More than 10 mins? | Use a timer or water-saving habits |
| Extractor fan usage | Always on / Never / Intermittent | Use only when needed |

# Kitchen

| 0 | 1 | 2 |
| --- | --- | --- |
| Check | Observation | Suggested Fix |
| Fridge seals tight | Test with paper slip | Replace if loose |
| Kettle usage | Overfilled? | Fill only what’s needed |
| Appliance loads | Full / Half / Small | Run only when full |
| Appliance age | 10+ years? | Consider replacement |

# Loft/Attic

| 0 | 1 | 2 |
| --- | --- | --- |
| Check | Observation | Suggested Fix |
| Loft insulation present | Yes / No | Install if missing |
| Insulation depth | Less than 270mm? | Top up insulation |
| Damp or heat loss | Signs of condensation | Check for leaks or ventilation |

# Outdoor

| 0 | 1 | 2 |
| --- | --- | --- |
| Check | Observation | Suggested Fix |
| Hose usage | Frequent / Occasional | Reduce or use watering can |
| External taps | Leaking? | Fix or insulate |
| Garden lighting | Timers/sensors? | Install sensors or LED options |
| Water butt | Used? | Install to collect rainwater |

# Top 5 Quick Wins

- • Switch to LED bulbs

- • Seal draughts (doors, letterbox)

- • Lower thermostat by 1°C

- • Shorten showers to under 5 mins

- • Unplug devices at night

# Action Tracker

| Action Taken | Notes |
| --- | --- |
| Action Taken | Notes |
| Switch supplier or tariff |  |
| Book boiler service |  |
| Apply for ECO scheme |  |
| Install smart meter |  |
| Track bills using a tracker |  |